## read
READ | point01 | point02 | point03 | point04 | point05 | point06 | point07 | point08 | point09 | point10
object_type | analogValue | analogValue | analogValue | analogValue | analogValue | analogValue | analogValue | analogOutput | analogOutput | analogOutput
object_instance | 90 | 91 | 92 | 93 | 0 | 0 | 96 | 0 | 0 | 0
object_property | presentValue | presentValue | presentValue | presentValue | presentValue | presentValue | presentValue | priorityArray | priorityArray | priorityArray
index | point08: 8; point09: 9; point10: 14
1000
1001
1100
1101
1200
1601
2000

## write
WRITE | point01 | point02 | point03 | point04 | point05 | point06 | point07 | point08 | point09 | point10
object_type | device | device | analogValue | analogValue | analogValue | analogValue | analogValue | analogValue | analogValue | device
object_instance |  |  | 92 | 93 | 0 | 0 | 96 | 97 | 98 | 98
object_property | description | objectName | description | description | description | description | description | description | description | description
index
1000
1001
1100
1101
1200
1601
2000

## validation
object_type | ai | ao | av | bi | bo | bv | mi | mo | mv | device | program
analogInput | ackedTransitions | ackedTransitions | valueSourceArray | timeOfStateCountReset | ackedTransitions | ackedTransitions | ackedTransitions | ackedTransitions | ackedTransitions | ackedTransitions | ackedTransitions | #VALUE!
analogOutput | auditableOperations | auditableOperations | valueSource | timeOfActiveTimeReset | activeText | activeText | alarmValues | auditableOperations | alarmValues | activeCovMultipleSubscriptions | auditableOperations | #VALUE!
analogValue | auditLevel | auditablePriorityFilter | units | timeDelayNormal | auditableOperations | alarmValue | auditableOperations | auditablePriorityFilter | auditableOperations | activeCovSubscriptions | auditLevel | #VALUE!
binaryInput | covIncrement | auditLevel | timeDelayNormal | timeDelay | auditablePriorityFilter | auditableOperations | auditLevel | auditLevel | auditablePriorityFilter | activeVtSessions | description | #VALUE!
binaryOutput | deadband | commandTimeArray | timeDelay | tags | auditLevel | auditablePriorityFilter | description | commandTimeArray | auditLevel | alignIntervals | descriptionOfHalt | #VALUE!
binaryValue | description | covIncrement | tags | statusFlags | changeOfStateCount | auditLevel | deviceType | currentCommandPriority | commandTimeArray | apduSegmentTimeout | eventDetectionEnable | #VALUE!
multiStateInput | deviceType | currentCommandPriority | statusFlags | reliabilityEvaluationInhibit | changeOfStateTime | changeOfStateCount | eventAlgorithmInhibit | description | description | apduTimeout | eventEnable | #VALUE!
multiStateOutput | eventAlgorithmInhibit | deadband | resolution | reliability | commandTimeArray | changeOfStateTime | eventAlgorithmInhibitRef | deviceType | eventAlgorithmInhibit | applicationSoftwareVersion | eventMessageTexts | #VALUE!
multiStateValue | eventAlgorithmInhibitRef | description | resolution | propertyList | currentCommandPriority | commandTimeArray | eventDetectionEnable | eventAlgorithmInhibit | eventAlgorithmInhibitRef | auditableOperations | eventMessageTextsConfig | #VALUE!
device | eventDetectionEnable | deviceType | relinquishDefault | profileName | description | currentCommandPriority | eventEnable | eventAlgorithmInhibitRef | eventDetectionEnable | auditLevel | eventTimeStamps | #VALUE!
program | eventEnable | eventAlgorithmInhibit | reliabilityEvaluationInhibit | profileName | deviceType | description | eventMessageTexts | eventDetectionEnable | eventEnable | auditNotificationRecipient | instanceOf | #VALUE!
| eventMessageTexts | eventAlgorithmInhibitRef | reliability | profileLocation | elapsedActiveTime | elapsedActiveTime | eventMessageTextsConfig | eventEnable | eventMessageTexts | autoSlaveDiscovery | notificationClass | #VALUE!
| eventMessageTextsConfig | eventDetectionEnable | propertyList | presentValue | eventAlgorithmInhibit | eventAlgorithmInhibit | eventState | eventMessageTexts | eventMessageTextsConfig | backupAndRestoreState | notifyType | #VALUE!
| eventState | eventEnable | profileName | polarity | eventAlgorithmInhibitRef | eventAlgorithmInhibitRef | eventTimeStamps | eventMessageTextsConfig | eventState | backupFailureTimeout | objectName | #VALUE!
| eventTimeStamps | eventMessageTexts | profileName | outOfService | eventDetectionEnable | eventDetectionEnable | faultValues | eventState | eventTimeStamps | backupPreparationTime | outOfService | #VALUE!
| faultHighLimit | eventMessageTextsConfig | profileLocation | objectName | eventEnable | eventEnable | interfaceValue | eventTimeStamps | faultValues | configurationFiles | profileLocation | #VALUE!
| faultLowLimit | eventState | priorityArray | notifyType | eventMessageTexts | eventMessageTexts | notificationClass | feedbackValue | lastCommandTime | databaseRevision | profileName | #VALUE!
| highLimit | eventTimeStamps | presentValue | notificationClass | eventMessageTextsConfig | eventMessageTextsConfig | notifyType | interfaceValue | notificationClass | daylightSavingsStatus | profileName | #VALUE!
| interfaceValue | highLimit | outOfService | interfaceValue | eventState | eventState | numberOfStates | lastCommandTime | notifyType | deployedProfileLocation | programChange | #VALUE!
| limitEnable | interfaceValue | objectName | inactiveText | eventTimeStamps | eventTimeStamps | objectName | notificationClass | numberOfStates | description | programLocation | #VALUE!
| lowLimit | lastCommandTime | notifyType | eventTimeStamps | feedbackValue | inactiveText | outOfService | notifyType | objectName | deviceAddressBinding | programState | #VALUE!
| maxPresValue | limitEnable | notificationClass | eventState | inactiveText | lastCommandTime | presentValue | numberOfStates | outOfService | deviceUUID | propertyList | #VALUE!
| minPresValue | lowLimit | minPresValue | eventMessageTextsConfig | interfaceValue | minimumOffTime | profileLocation | objectName | presentValue | eventDetectionEnable | reasonForHalt | #VALUE!
| notificationClass | maxPresValue | minPresValue | eventMessageTexts | lastCommandTime | minimumOnTime | profileName | outOfService | priorityArray | eventEnable | reliability | #VALUE!
| notifyType | minPresValue | maxPresValue | eventEnable | minimumOffTime | notificationClass | profileName | presentValue | profileLocation | eventMessageTexts | reliabilityEvaluationInhibit | #VALUE!
| objectName | notificationClass | maxPresValue | eventDetectionEnable | minimumOnTime | notifyType | propertyList | priorityArray | profileName | eventMessageTextsConfig | statusFlags | #VALUE!
| outOfService | notifyType | lowLimit | eventAlgorithmInhibitRef | notificationClass | objectName | reliability | profileLocation | profileName | eventState | tags | #VALUE!
| presentValue | objectName | limitEnable | eventAlgorithmInhibit | notifyType | outOfService | reliabilityEvaluationInhibit | profileName | propertyList | eventTimeStamps |  | #VALUE!
| profileLocation | outOfService | lastCommandTime | elapsedActiveTime | objectName | presentValue | stateText | profileName | reliability | firmwareRevision |  | #VALUE!
| profileName | presentValue | highLimit | deviceType | outOfService | priorityArray | statusFlags | propertyList | reliabilityEvaluationInhibit | intervalOffset |  | #VALUE!
| profileName | priorityArray | faultLowLimit | description | polarity | profileLocation | tags | reliability | relinquishDefault | lastRestartReason |  | #VALUE!
| propertyList | profileLocation | faultHighLimit | changeOfStateTime | presentValue | profileName | timeDelay | reliabilityEvaluationInhibit | stateText | lastRestoreTime |  | #VALUE!
| reliability | profileName | eventTimeStamps | changeOfStateCount | priorityArray | profileName | timeDelayNormal | relinquishDefault | statusFlags | localDate |  | #VALUE!
| reliabilityEvaluationInhibit | profileName | eventState | auditLevel | profileLocation | propertyList |  | stateText | tags | localTime |  | #VALUE!
| resolution | propertyList | eventMessageTextsConfig | auditableOperations | profileName | reliability |  | statusFlags | timeDelay | location |  | #VALUE!
| statusFlags | reliability | eventMessageTexts | alarmValue | profileName | reliabilityEvaluationInhibit |  | tags | timeDelayNormal | manualSlaveAddressBinding |  | #VALUE!
| tags | reliabilityEvaluationInhibit | eventEnable | activeText | propertyList | relinquishDefault |  | timeDelay | valueSource | maxApduLengthAccepted |  | #VALUE!
| timeDelay | relinquishDefault | eventDetectionEnable | ackedTransitions | reliability | statusFlags |  | timeDelayNormal | valueSourceArray | maxInfoFrames |  | #VALUE!
| timeDelayNormal | resolution | eventAlgorithmInhibitRef |  | reliabilityEvaluationInhibit | tags |  | valueSource |  | maxMaster |  | #VALUE!
| units | statusFlags | eventAlgorithmInhibit |  | relinquishDefault | timeDelay |  | valueSourceArray |  | maxSegmentsAccepted |  | #VALUE!
| ai: updateInterval; ao: tags; av: description; bo: statusFlags; bv: timeDelayNormal | modelName |  | #VALUE!
| ao: timeDelay; av: deadband; bo: tags; bv: timeOfActiveTimeReset | notificationClass |  | #VALUE!
| ao: timeDelayNormal; av: currentCommandPriority; bo: timeDelay; bv: timeOfStateCountReset | notifyType |  | #VALUE!
| ao: units; av: covIncrement; bo: timeDelayNormal; bv: valueSource | numberOfApduRetries |  | #VALUE!
| ao: valueSource; av: commandTimeArray; bo: timeOfActiveTimeReset; bv: valueSourceArray | objectList |  | #VALUE!
| ao: valueSourceArray; av: auditLevel; bo: timeOfStateCountReset | objectName |  | #VALUE!
| av: auditablePriorityFilter; bo: valueSource | profileLocation |  | #VALUE!
| av: auditableOperations; bo: valueSourceArray | profileName |  | #VALUE!
| av: ackedTransitions | profileName |  | #VALUE!
[10 empty] | propertyList |  | #VALUE!
[10 empty] | protocolObjectTypesSupported |  | #VALUE!
[10 empty] | protocolRevision |  | #VALUE!
[10 empty] | protocolServicesSupported |  | #VALUE!
[10 empty] | protocolVersion |  | #VALUE!
[10 empty] | reliability |  | #VALUE!
[10 empty] | reliabilityEvaluationInhibit |  | #VALUE!
[10 empty] | restartNotificationRecipients |  | #VALUE!
[10 empty] | restoreCompletionTime |  | #VALUE!
[10 empty] | restorePreparationTime |  | #VALUE!
[10 empty] | segmentationSupported |  | #VALUE!
[10 empty] | serialNumber |  | #VALUE!
[10 empty] | slaveAddressBinding |  | #VALUE!
[10 empty] | slaveProxyEnable |  | #VALUE!
[10 empty] | statusFlags |  | #VALUE!
[10 empty] | structuredObjectList |  | #VALUE!
[10 empty] | systemStatus |  | #VALUE!
[10 empty] | tags |  | #VALUE!
[10 empty] | timeOfDeviceRestart |  | #VALUE!
[10 empty] | timeSynchronizationInterval |  | #VALUE!
[10 empty] | timeSynchronizationRecipients |  | #VALUE!
[10 empty] | utcOffset |  | #VALUE!
[10 empty] | utcTimeSynchronizationRecipients |  | #VALUE!
[10 empty] | vendorIdentifier |  | #VALUE!
[10 empty] | vendorName |  | #VALUE!
[10 empty] | vtClassesSupported |  | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!